North Carolina Department of Health and Human Services

Division of Public Health

LEAD-BASED PAINT INVESTIGATION

Name:                                                                                                                                   County:

(School, Proposed /Existing Child-Occupied Facility)

Street Address:

Property Owner Name and Address:

Age Building:                               Condition:                                            Property Event ID #:

(if known)

XRF Make:                            XRF Model:                           XRF Serial Number:                     Mode of Operation:

Calibration Check Test Results:

Reference Standard/NIST SRM Used: _________mg/cm²     Calibration Check:  Niton +/- 0.2 □    Heuresis 0.8 – 1.2 □

| Calibration Check Number | Time | First Reading | Second Reading | Third Reading | Average | Difference Between Average & NIST/SRM (Niton Only) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | a.m. p.m. |  |  |  |  |  |
| 2 | a.m. p.m. |  |  |  |  |  |
| 3 (if required) | a.m. p.m. |  |  |  |  |  |
| 4 (if required) | a.m. p.m. |  |  |  |  |  |

Notes

□ Sketch Attached

Investigation Team Members On-site:

Purpose:        To record X-Ray Fluorescence (XRF) analyses of lead in paint, or on lead-containing substances, and map the locations of XRF readings and environmental lead samples collected during a lead hazard investigation.

Preparation:  To be completed by the lead investigation team during the environmental lead hazard investigation.

Distribution: Retain original at the local health department or NC Department of Health and Human Services. Submit a copy to the property owner(s) with the hazard notification letter.

Disposition: This form may be destroyed in accordance with Standard 5 of the Records Disposition Schedule published by the NC Division of Archives and History.

Additional forms may be ordered from:	NC DHHS/Division of Public Health

Environmental Health Section

1632 Mail Service Center Raleigh, NC 27699-1632

(919) 707-5854

DHHS 3279 (Revised 11/19)

Environmental Health Services Section Review (7/03)	Continued on Back

# Interpretation: XRF readings of 1.0 mg/cm² or above indicate the presence of hazardous lead-based paint.

| Sample Number | Location | Side* | Substrate | Condition † | Color | XRF Reading (mg/cm²) Check if Hazard |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |

* A, B, C, or D Side

† Intact (I), Peeling (P), Flaking (F), Chipping (C), Chalking (CK), Worn (W), or Subject to Abrasion (A)

Investigator Signature:	Date:

DHHS 3279 (Revised 11/19) Environmental Health Services Section Review (7/03)	

# Interpretation: XRF readings of 1.0 mg/cm² or above indicate the presence of hazardous lead-based paint.

| Sample Number | Location | Side* | Substrate | Condition † | Color | XRF Reading (mg/cm²) Check if Hazard |  |
| --- | --- | --- | --- | --- | --- | --- | --- |

* A, B, C, or D Side

† Intact (I), Peeling (P), Flaking (F), Chipping (C), Chalking (CK), Worn (W), or Subject to Abrasion (A)

Investigator Signature:	Date:

DHHS 3279 (Revised 11/19) Environmental Health Services Section Review (7/03)	

Sketch Sample Locations (Not to Scale)

Investigator Signature:	Date:

DHHS 3279 (Revised 11/19) Environmental Health Services Section Review (7/03)	

Sketch Sample Locations (Not to Scale)

Investigator Signature:	Date:

DHHS 3279 (Revised 11/19) Environmental Health Services Section Review (7/03)	